<Project Name>
07 42 13
<Project No.>
AXIOM METAL PLATE PANELS
2018-02-14
PAGE 2
<Project Name>
07 42 13
<Project No.>
AXIOM METAL PLATE PANELS
2019-04-12
PAGE 1

1 General

1.1 SUMMARY

SPEC NOTE:  This Specification has been prepared to assist the Specifier in preparing a Project or Master Specification. It follows guidelines established by Construction Specifications Canada (CSC) and therefore may be used with most Master Specification systems with minor editing.
SPEC NOTE:  Following is written as a complete stand alone Master Specification Section for provision of “Dry Joint” Metal Wall Panel System on a Project. Spec Notes will identify which articles or paragraphs should be copied into another metal wall panel system Specification Section as applicable.

.1 Section Includes: Provide axiom metal plate panels including but not limited to the following:

.1 Custom made preformed, prefinished or post painted aluminum plate panel system. System uses rear ventilated dry joint rain screen construction.

.2 Related Sections: Following description of work is included for reference only and shall not be presumed complete:
.1 Cast-in Place Concrete: Division 03, Concrete.
.2 Unit Masonry: Division 04, Masonry.
.3 Structural Metal Framing: Division 05, Metals.
.4 Metal Fabrications: Division 05, Metals.
.5 Thermal Insulation: Division 07, Thermal and Moisture Protection.
.6 Vapour Barriers: Division 07, Thermal and Moisture Protection.
.7 Air Barriers: Division 07, Thermal and Moisture Protection.
.8 Flashing and Sheet Metal: Division 07, Thermal and Moisture Protection.
.9 Joint Sealants: Division 07, Thermal and Moisture Protection.
1.2 REFERENCES

.1 Abbreviations and Acronyms:

.1 Polyamide:  Glass fibre reinforced polyamide.

.2 PVDF: Polyvinyldiene Floride.

.2 Reference Standards:
.1 AAMA 501.1-05

- Standard Test Method for Water Penetration of
 



Windows, Curtain Walls and Door Using Dynamic
 



Pressure

.2 AAMA 508-07

- Voluntary Test Method and Specification for Pressure
 



Equalized Rain Screen Wall Cladding Systems

.3 CAN/ULC-S134-13
- Standard Method of Fire Test of Exterior Wall
 



Assemblies [Note conducted on both combustible and non-combustible cladding.] 

.4 NFPA 285


- Standard Fire Test Method of Evaluation of Fire Propagation Characteristics of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components

.5 AAMA 2604-13

- Voluntary Specification, Performance Requirements and
 



Test Procedures for High Performance Organic Coatings
 



on Aluminum Extrusions and Panels

.6 AAMA 2605-13

- Voluntary Specification, Performance Requirements and
 



Test Procedures for Superior Performing Organic
 



Coatings on Aluminum Extrusions and Panels

.7 ASTM A653/A653M-15
- Standard Specification for Steel Sheet, Zinc-Coated 



(Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) 



by the Hot-Dip Process
.8 ASTM A792/A792M
-  Standard Specification for Steel Sheet, 55% Aluminum-



Zinc Alloy-Coated by the Hot-Dip Process

.9 ASTM B117-11

- Standard Practice for Operating Salt Spray (Fog)
 



Apparatus

.10 ASTM D714-02(09)
- Standard Test Method for Elevating Degree of Blistering
 



of Paints

.11 ASTM D968-15

- Standard Test Methods for Abrasion Resistance of
 



Organic Coatings by Falling Abrasive

.12 ASTM D1308-02(13)
- Standard Test Method for Effect of Household
 



Chemicals on Clear and Pigmented Organic Finishes

.13 ASTM D1781-98(12)
- Standard Test Method for Climbing Drum Peel for
 



Adhesives

.14 ASTM D2244-15a

- Standard Practice for Calculation of Color Tolerances
 



and Color Differences from Instrumentally Measured
 



Color Coordinates

.15 ASTM D2247-11

- Standard Practice for Testing Water Resistance of
 



Coatings in 100% Relative Humidity

.16  ASTM D2794-93(10)
- Standard Test Method for Resistance of Organic
 



Coatings to the Effects of Rapid Deformation (Impact)

.17 ASTM D3359-17

- Standard Test Methods for Rating Adhesion by Tape
 



Test

.18 ASTM D4214-07(15)
- Standard Test Methods for Evaluating the Degree of
 



Chalking of Exterior Paint Films
.19 ASTM D968


-  Standard Test Methods for Abrasion Resistance of organic Coatings by Falling Abrasive

.20 ASTM E283-04(12)
- Standard Test Method for Determining Rate of Air
 



Leakage Through Exterior Windows, Curtain Walls, and
 



Doors Under Specified Pressure Differences Across the
 



Specimen

.21 ASTM E330/E330M-14
- Standard Test Method for Structural Performance of
 



Exterior Windows, Doors, Skylights and Curtain Walls by
 



Uniform Static Air Pressure Difference

.22 ASTM E331-00(09)
- Standard Test Method for Water Penetration of Exterior
 



Windows, Skylights, Doors, and Curtain Walls by
 



Uniform Static Air Pressure Difference

.23 ASTM E1233/E1233M-14
- Standard Test Method for Structural Performance of
 



Exterior Windows, Doors, Skylights, and Curtain Walls
 



by Cyclic Air Pressure Differential

1.3 SUBMITTALS

.1 Shop Drawings:

.1 Shop Drawings shall clearly indicate by reflected ceiling plans, wall elevations and/or section details all material thicknesses, finishes, connections, inserts, joint conditions, method of anchorage, number of anchors, supports, reinforcements, methods of supporting and integrating mechanical and electrical fixtures, trim and accessories.

.2 Ensure calculations are signed and sealed by a licensed Engineer, attesting to the ability of the metal panel assembly to withstand the specified loads, including self-weight, wind, seismic, thermal and building movements. 

.3 Identify panels on Shop Drawings as to building location to facilitate panel removal and replacement due to construction and/or occupant damage. 

.2 QUALITY ASSURANCE

.1 Qualifications:
.2 Manufacturers: Have a minimum of 10 years’ experience in the manufacture of metal plate panel systems.

.3 Installers: Provide work of this Section executed by competent installers with minimum 5 years experience in the application of Products, systems and assemblies specified and with approval and training of the Product manufacturers.

1.4 DELIVERY, STORAGE AND HANDLING
.1 Storage and Handling Requirements:

.1 Package, crate and cover components to protect surfaces from damage and deterioration in accordance with manufacturer’s instructions.

.2 Store components off ground to prevent twisting, bending and defacement. Slope to shed moisture. Refer to any additional storage requirements as stated in manufacturer’s installation instructions.

.3 Material should be handled to prevent damage to the Product and in accordance with manufacturer’s instructions.
2 Products
2.1 MANUFACTURERS
.1 Axiom Series Panels:
.1 Manufacturer:
Northern Facades Ltd.

6451 Northwest Drive

Mississauga, Ontario
L4V 1K2
Phone: (905)-740-2050
Toll free: 844-740-2050
Fax: (905)-740-2054 

2.2 MATERIALS
.1 Performance/Design Criteria:
.1 Structural Design:

.1 Wind Load shall be calculated as per the local building code. Adequate stiffening shall be provided to prevent excessive deflection, wind induced vibrations or fatigue problems.
.2 Panel system shall be tested according to ASTM E330/E330M.

.3 Ensure perimeter framing does not deflect more than L/180 between supports.

.4 Ensure stress on panel does not exceed manufacturer’s recommended maximum value to avoid permanent deformation.

.5 Fasteners: Designed to transmit all loads to the main structure without exceeding the capacity of any fastener.

.6 Thermal Movement: Allowance shall be made for expansion and contraction of all parts of the panel assembly caused by surface temperatures varying from -40 deg C to 60 deg C.  Such variation in temperature shall not cause buckling stress on enclosed or adjoining materials or fasteners, or in any way impair the performance or appearance of the system.

.2 Static Air Infiltration: Provide air barrier system to a performance level of 300 Pa of pressure with a leakage rate less than 0.3 L/s*m2 when tested in accordance with ASTM E283.

.3 Static Water Infiltration:

.1 Provide water barrier system capable of withstanding a 15 minute water test at 720 Pa of pressure when tested in accordance with ASTM E331.

.2 Ensure panel system provides clear, internal paths of drainage that weep any trapped moisture to exterior. Ensure weep water discharges in a manner that limits staining of architectural finishes, standing water, or the formation of icicles.
.3 Pressure Equalized Rain Screen Performance:
.4 Test panel system tested in accordance with AAMA 508 to following criteria:

.1 Pass 100, three second cycles of cyclic pressure according to ASTM E1233/E1233M ranging from 240 Pa to 1200 Pa to 240 Pa. Panel system must attain pressure equalization within 0.08 sec.
.2 Pass dynamic water penetration test, AAMA 501.1 at 300 Pa.
.4 Water Tightness: Exterior wall panels shall be designed to the rain screen principle as published by the National Research Council of Canada and prevent water infiltration into the interior systems. No panel to panel joint caulking will be permitted in the wall or soffit area. 

SPEC NOTE:  Use following for 3-coat finish system.

.5 Finishing Performance Requirements: (3 Coat Wet System (primer/colour coat/clear coat)) including thermal setting application of 70% fluoropolymer resin minimum, PVDF with added colour pigment finish exceeding or meeting AAMA 2605 requirements. Ensure fluoropolymer baked resins form a continuous physically locked finish during manufacturing process. Apply fluoropolymer finish after multistage chemical treatment cleaning providing corrosion resistance surface ready to receive primer. During baking process apply primer in accordance with manufacturer’s recommendations followed by a flash process whereby evaporating solvent and then fluoropolymer finish sprayed on to aluminum; apply another flash procedure and then bake for approximately 10 minutes when aluminum surface reaches a temperature of 232 deg C (450 deg F) with following characteristics:

.1 Humidity Resistance:

ASTM D714, ASTM D2247,

3000 hrs, 100% R.H. @ 100°F:
Few #8 blisters maximum

.2 Salt Spray Resistance:

ASTM B117, 3000 hrs

5% NaCl @ 100°F:


1.6 mm (1/16”) maximum undercutting

.3 Chemical Resistance:

ASTM D1308, Procedure 6.2: 
No discolouration or blistering after 15
 




minute spot test with 10% muriatic acid.
 




No discolouration or blistering after 18 hr
 




spot check with 20% sulfuric acid. 

.4 Abrasion Resistance

Falling Sand (ASTM D968):

50 l/ml

.5 Colour Retention

5000 hrs, 45° South Florida

(ASTM D2244):


ΔE <5.0

.6 Chalking Resistance

10 yrs, 45° South Florida

(ASTM D4214):


No more than #8

SPEC NOTE:  Use following for 2-coat finish system.

.6 High Performance Coating Finish Process: (2 Coat Wet System) including thermal setting application of 70% fluoropolymer resin minimum, PVDF with added colour pigment finish exceeding or meeting AAMA 2604 requirements. Ensure fluoropolymer baked resins form a continuous physically locked finish during manufacturing process. Apply fluoropolymer finish after multistage chemical treatment cleaning providing corrosion resistance surface ready to receive primer. During baking process apply acrylic or epoxy primer in accordance with manufacturer’s recommendations followed by a flash process whereby evaporating solvent and then fluoropolymer finish sprayed on to aluminum; apply another flash procedure and then bake for approximately 10 minutes when aluminum surface reaches a temperature of 232 deg C (450 deg F) with following characteristics:

.1 Humidity Resistance:

ASTM D714, ASTM D2247,

1500 hrs, 100% R.H. @ 100°F:
Few #8 blisters maximum

.2 Salt Spray Resistance:

ASTM B117, 1500 hrs

5% NaCl @ 100°F:


1.6 mm (1/16”) maximum undercutting

.3 Abrasion Resistance

Falling Sand (ASTM D968):
20 l/ml

.2 Panels:

.1 Minimum 2 mm or 3 mm, 3003 or 5052 alloy, solid aluminum sheet.

.2 Panel Tolerances:

.1 Panel Bow: Not to exceed 0.8% of panel overall dimension in width or length.
.2 Length & Width: +0 mm, -3.2 mm.

.3 Squareness: 1.3 mm per lin m.

.4 Panel Size: As indicated on Drawings.
.3 Axiom extrusion set, including perimeter and clip system to be used to secure panel to structure.
.4 3 mm (1/8”) domed stainless steel rivets used to secure aluminum sheet. Fasten panel only on the return edges.
2.3 ACCESSORIES
.1 Fasteners shall be coated with an anti-corrosion coating system or made from 300 series stainless steel. Coating type to be determined based on intended use and environmental factors.

.2 Wherever practical at corners, jambs and abutments, no flashings will be permitted. Where flashings are unavoidable, use prefinished aluminum material to match aluminum sheet.

.3 Weep holes aligned for drainage system at the back of the panel for standard extrusions at termination of dissimilar materials.
.4 Sub-Grits to sized and gauged in association with Project requirements as indicated on Drawings.
.1 Sub-framing ISO Clip Thermal Spacer:
.1 [14, 16] ga GalvalumeTM, galvanized steel with integral polyamidethermal isolator pad, with adjustable depth and suitable for vertical and horizontal sub-girts.
.2 Effective R-Value to be determined by Consultant in combination with Insulation system.
.3 Approved Component:
ISO Clip by Northern Facades Ltd.

6451 Northwest Drive

Mississauga, ON L4V 1K2

Phone: (905)-740-2050

Toll free: 844-740-2050


Fax: (905)-740-2054

Email: info@isoclips.com 
.4 Fasten structural members and panels together with interlocking clips as indicated.

.5 Provide a dielectric separator wherever 2 dissimilar metals are in contact with each other.
.5 Substrate wall sheathing reference to Division 06 for requirements.
.6 Air/Vapour Barrier in accordance with Project location climate region associated for performance characters on air penetration, water vapour transmission and water penetration resistance. Refer to Division 07.
.7 Openings: Provide and coordinate openings with the work of other installers. Holes to accommodate the work of other Sections to be provided in the panel prior to finishing. Reinforce perimeter of holes greater than 300 mm x 300 mm to manufacturer’s standard.
.8 Finishes:

.1 Aluminum Material: Tension leveled, [flouropolymer PDVF painted finish 3003-H14 manganese alloy] [anodized finish 5005 – AQ Manganese alloy]. 

.2 2-coat or 3-coat PPG Duranar colour to be selected by Consultant from panel manufacturer’s colour selection guide. Custom colours optional.
.3 Finish:  [2-Coat PPG Duranar Colour] [3-Coat PPG  Duranar XL] 

.1 Paint Colour Name: ​​​​​​​​​​​​​​​​​​​​​​[ ].
.2 Paint Colour Manufacture Code Number: [ ]​​​​​​​​.
3 Execution
3.1 EXAMINATION

.1 Verification of Conditions:
.1 Prior to installation, inspect structure to ensure all walls and openings are within +/-3 mm (+/-1/8”) of location shown on Architectural Drawings. Also, structure is to be plumb within 1:1000 of overall height. Installation is not to proceed until the building is within these tolerances. Verification of site tolerances to be conducted using a 3D Laser Scanner. A report showing the deviations of the structure from the nominal condition will be created from the analysis of the point cloud. Scanning and analysis of the structure to be conducted by 

Approved Service Provider: TSC Inc. (contact 416 803 0642).  
.2 Prior to the start of work found in this Section inspect the work of previous trades to ensure it is in accordance with Contract Documents.  If not, do not proceed with work and notify the Contractor immediately in writing to resolve differences before proceeding with work.
.2 Evaluation and Assessment: Commencement of work implies acceptance of previously completed work.

3.2 PREPARATION
.1 Develop all dimensions from the architectural drawings and where possible coordinate with field dimensions to obtain final panel layout.

3.3 INSTALLATION
.1 Support system shall be attached to the structure as required to transmit design loads. 

.2 Framing and other components shall be straight to match plane of panel as required to meet the installed panel tolerances with straight, sharply formed edges. Curved components shall be formed to a true arc. 

.3 After their correct position has been determined and allowances for expansion, building movement, uniform joint width and alignment of all parts has been determined, the components shall be permanently fastened. 
.4 Installed panels shall not deviate from overall plane or alignment by more than 1:1000. Joints shall be not less than their dimensioned width, or more than 10% greater than their dimensioned width at any location along their full length, and shall not be wavy, out of line or of different width from panel to panel.

.5 Install flashings to divert all moisture to the exterior.

.6 Install exterior metal cladding to structural supports by hidden mechanical fasteners, clips and perimeter framing extrusions.

3.4 CLEANING

.1 Remove all excess materials, debris and equipment at completion. 

.2 Clean all panels free of grime and dirt at time of installation.
[image: image1.jpg]





