<Project Name>
07 42 26
<Project No.>
STX CERAMIC ARCHITECTURAL

 PANELS
2018-02-14 
PAGE 2
<Project Name>
07 42 26
<Project No.>
STX CERAMIC ARCHITECTURAL PANELS
2019-04-12
PAGE 1

1 General

1.1 SUMMARY

SPEC NOTE:  This Specification has been prepared to assist the Specifier in preparing a Project or Master Specification. It follows guidelines established by Construction Specifications Canada (CSC) and therefore may be used with most Master Specification systems with minor editing.
SPEC NOTE:  Following is written as a complete stand alone Master Specification Section for provision of “Dry Joint” Porcelain Tile Wall Panel System on a Project. Spec Notes will identify which articles or paragraphs should be copied into another porcelain tile wall panel system Specification Section as applicable.
SPEC NOTE:  Following specification information also applies to section 07 44 19 Tile-Faced Panels and section 07 44 23 Ceramic-Tile-Faced Panels.
.1 Section Includes: Provide STX ceramic architectural wall panels including but not limited to the following:

.1 Custom made sintered ceramic, modular wall and soffit panel system. System uses rear ventilated dry joint rain screen construction.

.2 Related Sections: Following description of work is included for reference only and shall not be presumed complete:
.1 Cast-in Place Concrete: Division 03, Concrete.
.2 Unit Masonry: Division 04, Masonry.
.3 Structural Metal Framing: Division 05, Metals.
.4 Metal Fabrications: Division 05, Metals.
.5 Thermal Insulation: Division 07, Thermal and Moisture Protection.
.6 Vapour Barriers: Division 07, Thermal and Moisture Protection.
.7 Air Barriers: Division 07, Thermal and Moisture Protection.
.8 Membrane Roofing: Division 07, Thermal and Moisture Protection.
.9 Flashing and Sheet Metal: Division 07, Thermal and Moisture Protection.
1.2 REFERENCES

.1 Abbreviations and Acronyms:

.1 Polyamide: Glass fibre reinforced polyamide.

.2 Reference Standards:
.1 AAMA 501.1-05

- Standard Test Method for Water Penetration of
 



Windows, Curtain Walls and Door Using Dynamic
 



Pressure

.2 AAMA 508-14

- Voluntary Test Method and Specification for Pressure
 



Equalized Rain Screen Wall Cladding Systems

.3 AAMA 509-14

- Voluntary Test Method and Classification Method for Drained and Back Ventilated Rain Screen Wall Cladding Systems

.4 ASTM A653/A653M-15
- Standard Specification for Steel Sheet, Zinc-Coated
 



(Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed)
 



by the Hot-Dip Process

.5 ASTM A792/A792M
- Standard Specification for Steel Sheet, 55% Aluminum-



Zinc Alloy-Coated by the Hot-Dip Process

.6 ASTM C794-15a

- Standard Test Method for Adhesion-in-Peel of
 



Elastomeric Joint Sealants

.7 ASTM E283-04(2012)
- Standard Test Method for Determining Rate of Air
 



Leakage Through Exterior Windows, Curtain Walls, and
 



Doors Under Specified Pressure Differences Across the
 



Specimen

.8 ASTM E330/E330M-14
- Standard Test Method for Structural Performance of
 



Exterior Windows, Doors, Skylights and Curtain Walls by
 



Uniform Static Air Pressure Difference

.9 ASTM E331-00(2016)
- Standard Test Method for Water Penetration of Exterior
 



Windows, Skylights, Doors, and Curtain Walls by
 



Uniform Static Air Pressure Difference

.10 ETAG 002-12

- Guideline for European Technical Approval for
 



Structural Sealant Glazing Kits (SSGK)

.11 ULC-S135-04

- Standard Test Method for the Determination of
 



Combustibility Parameters of Building Materials Using an
 



Oxygen Consumption Calorimeter (Cone Calorimeter)

1.3 SUBMITTALS

.1 Shop Drawings:

.1 Shop Drawings shall clearly indicate by reflected ceiling plans, wall elevations and/or section details all material thicknesses, finishes, connections, inserts, joint conditions, method of anchorage, number of anchors, supports, reinforcements, methods of supporting and integrating mechanical and electrical fixtures, trim and accessories.

.2 Ensure calculations are signed and sealed by a licensed Engineer, attesting to the ability of the Porcelain panel assembly to withstand the specified loads, including positive and negative wind loads. 

.3 Identify panels on Shop Drawings as to building location to facilitate panel removal and replacement due to construction and/or occupant damage.

.2 Test and Evaluation Reports:

.1 Fire Testing Performance: Panel facing shall be tested by an accredited testing facility, to ULC-S135 and be approved for use in non-combustible construction in accordance with the latest edition of the National Building Code of Canada.

1.4 QUALITY ASSURANCE

.1 Qualifications:
.1 Manufacturers: Have a minimum of 5 years’ experience in the manufacture of Sintered Porcelain Tile Rain screen panel systems.

.2 Installers: Provide work of this Section executed by competent installers with minimum 5 years’ experience in the application of Products, systems and assemblies specified and with approval and training of the Product manufacturers.

.2 Mock-Ups: Construct minimum 10 m2 (100 sq ft) mock-up sample at Project location designated by Consultant for review. Once reviewed with no objections recorded, sample remains part of finished work and used as a quality reference standard for balance of Project.

1.5 DELIVERY, STORAGE AND HANDLING
.1 Storage and Handling Requirements:

.1 Package, crate and cover components to protect surfaces from damage and deterioration in accordance with manufacturer’s instructions.

.2 Store components off ground to prevent twisting, bending and defacement. Slope to shed moisture. Refer to any additional storage requirements as stated in manufacturer’s installation instructions.

.3 Material should be handled to prevent damage to the Product and in accordance with manufacturer’s instructions.
2 Products
2.1 MANUFACTURERS
.1 STX Ceramic Architectural Wall Panels:
.1 Manufacturer:
Northern Facades Ltd.

6451 Northwest Drive

Mississauga, Ontario

L4V 1K2

Phone: (905)-740-2050
Toll free: (844) 740-2050

Fax: (905)-740-2054

.2 Form modular panels from minimum 3.5 mm or 5.6 mm ceramic tile complete with integral fiberglass reinforcing mesh to manufacturer’s recommendations. 

2.2 MATERIALS
.1 Performance/Design Criteria:
.1 Structural Design:

.1 Calculated Wind Load per local building code. 

.2 Test panel system according to ASTM E330/E330M.

.3 Deflection Movement: Maximum deflection not to exceed L/60. Ensure panel exhibits no permanent deformation when subject to specified design loads. Make allowance in the panel design for movement within the system caused by deflection in the building structure.
.4 Panel: Sintered Ceramic Tile Panel System, including its support and attachments, shall be designed to resist positive and negative wind loads as calculated in the latest edition of the National Building Code of Canada and it’s supplement, using a 1/50 return period. Adequate stiffening shall be provided to prevent excessive deflection, wind induced vibrations and fatigue problems.    

.5 Fasteners: Designed to transmit all loads to the main structure without exceeding the capacity of any fastener.

.6 Thermal Movement: Make allowance for expansion and contraction of all parts of the panel assembly caused by surface temperatures varying from -40 deg C to 60 deg C. Ensure such variation in temperature does not cause buckling stress on enclosed or adjoining materials or fasteners, or in any way impair the performance or appearance of the system.

.7 Sub system design to incorporate a gridlock to eliminate rocking of the Z-bars on gypsum board or other support sub-wall systems.
.2 Static Air Infiltration:

.1 Provide air barrier system to a performance level of 300 Pa of pressure with a leakage rate less than 0.3 L/s*m2 when tested in accordance with ASTM E283.

.2 System must have been successfully tested by an accredited testing facility to the ASTM E283.
.3 Static Water Infiltration:

.1 Provide water barrier system capable of withstanding a 15 minute water test at 720 Pa of pressure when tested in accordance with ASTM E331.

.2 Weep Drainage: Panel system shall provide clear, internal paths of drainage that weep any trapped moisture to the exterior. Weep water shall discharge in a manner that limits staining of architectural finishes, standing water, or the formation of icicles.
.4 Pressure Equalized Rain Screen Performance:
.1 Panel system to be comprised of a dry joint system without the use of external joint sealants. 

.2 Test panel system tested in accordance with AAMA 508 to following criteria:

.1 Pass 100, three second cycles of cyclic pressure according to ASTM E1233/E1233M ranging from 240 Pa to 1200 Pa to 240 Pa. Panel system must attain pressure equalization within 0.08 sec.
.2 Pass dynamic water penetration test, AAMA 501.1 at 300 Pa.
.5 Water Tightness: Exterior wall panels shall be designed to the rain screen principle as published by the National Research Council of Canada and prevent water infiltration into the interior systems. No panel to panel joint caulking will be permitted in the wall or soffit area. 

.2 Panels:

.1 Panel Composition: Ceramic tile composed of clay, granite and metamorphic, feldspar-containing rocks and ceramic pigments; compacted at high pressure then sintered at 1200 deg C and reinforced with a fiberglass mesh backing. 

.1 Laminam 3+ Nominal Thickness 3.5 mm.

SPEC NOTE:  Following to be used in high impact areas at grade level, with optional stiffeners available for reinforcement if required.
.2 Laminam 5 Nominal Thickness 5.6 mm. 

.2 Maximum Sizes:
.1 1000 mm x 3000 mm.
.2 1620 mm x 3240 mm (only available in 5.6 mm for STX System).
.3 Colour and Texture Selection:
.1 No. 1 [ ] (Collection No. & Name): [ ] (Colour  & Finish).
.2 No. 2 [ ] (Collection No. & Name): [ ] (Colour  & Finish).
SPEC NOTE: Laminam option for specifiers, Laminam now offers the innovative Hydrotect® self-cleaning and anti-pollution treatment on all Laminam ceramic surfaces except dark and polished surfaces. Contact your local Laminam Technical Representative for more details about Hydrotect® treatments.
.4 Exposed STX panel (edge, edgeless) extrusions anodized as standard or painted with a PPG/Duranar colour or anodized to compliment porcelain tile.

.5 Structural Silicone: “Dow Corning® 983” two-part, neutral cure, RTV silicone sealant.
.3 Fasteners:

.1 Coated with an anti-corrosion coating system or made from 300 series stainless steel. Coating type to be determined based on intended use and environmental factors.

.4 Openings: Provided and coordinated with the work of other installers. Holes to accommodate the work of other sections to be provided in the panel prior to finishing.

.5 Sub Girt System:
.1 Panel load transfer grids shall be formed from minimum 1.2 mm (18 ga) full-galvanized steel conforming to ASTM A653/A653M Grade A Zinc coating to Z275 (G90) designation.
.2 Transfer grid to be hat bars, Z-bars, adjustable Z-bars or combination thermal clip and Z-bar.
.3 Sub-framing ISO Clip Thermal Spacer:
.1 [14, 16] ga [GalvalumeTM, galvanized] steel with integral polyamide thermal isolator pad, with adjustable depth and suitable for vertical and horizontal sub-girts.
.2 Effective R-Value to be determined by Consultant in combination with Insulation system.
.3 Approved Component:
.1 ISO Clip by Northern Facades

6451 Northwest Drive

Mississauga, ON L4V 1K2
Phone: 905-740-2050

Toll free: 1-844-740-2050

Fax: (905)-740-2054

Email: info@isoclips.com 
.4 Fasten structural members and panels together with interlocking clips as indicated.

.5 Provide a dielectric separator wherever 2 dissimilar metals are in contact with each other.
.6 Fabrication:
.1 All work to be fabricated with straight lines, square corners or smooth bends, free from twists or warps, kinks dents and other imperfections, which may affect appearance or serviceability.

.2 Panel flatness in all directions across the surface to be a maximum of 0.1%. 

.3 System shall have a flush appearance from the exterior with no surface fixings or other irregularities and with no reveal other than the module joint width.

.4 Panels shall be aligned with no lap or reveal other than joint width to permit expansion and contraction.
.5 Thickness of metal and details of assembly and support shall provide sufficient strength and stiffness to resist distortion of finished surface. 

.6 Exposed edges and ends of metal shall be dressed smooth, free from sharp edges. Connections and joints exposed to the weather shall be constructed to exclude water.

.7 Panels to be constructed with aluminum extrusions framing all sides. Provisions shall be made for individual panel drainage at panel base.
.7 Flashings:
.1 Wherever practical at corners, jambs and abutments, no flashings will be permitted. Panel design to include for these connections. Where flashings are unavoidable, use prefinished material to match Porcelain facing or panel perimeter extrusion.
.2 Exposed surfaces of aluminum extrusions to be anodized to match the finish of the panels. Colour(s).

3 Execution
3.1 EXAMINATION

.1 Verification of Conditions:
.1 Prior to installation, inspect structure to ensure all walls and openings are within +/-3 mm (+/-1/8”) of location shown on Architectural Drawings. Also, structure is to be plumb within 1:1000 of overall height. Installation is not to proceed until the building is within these tolerances. Verification of site tolerances to be conducted using a 3D Laser Scanner. A report showing the deviations of the structure from the nominal condition will be created from the analysis of the point cloud. Scanning and analysis of the structure to be conducted by 

Approved Service Provider: TSC Inc. (contact 416 803 0642).  
.2 Prior to the start of work found in this Section, manufacturer’s representative and Contractor or their designate shall inspect the work of previous trades to ensure it is in accordance with Contract Documents. If not, do not proceed with work and notify the Contractor immediately in writing to resolve differences before proceeding with work.
.2 Evaluation and Assessment: Commencement of work implies acceptance of previously completed work.

3.2 PREPARATION
.1 Develop all dimensions from the Architectural Drawings and where possible coordinate with field dimensions to obtain final panel layout.

3.3 INSTALLATION
.1 Support system shall be attached to the structure as required to transmit design loads. 

.2 Framing and other components shall be straight to match plane of panel as required to meet the installed panel tolerances with straight, sharply formed edges. 

.3 After their correct position has been determined and allowances for expansion, building movement, uniform joint width and alignment of all parts has been determined, the components shall be permanently fastened. 

.4 Installed panels shall not deviate from overall plane or alignment by more than 1:1000. Joints shall be not less than their dimensioned width, or more than 5% greater than their dimensioned width at any location along their full length, and shall not be wavy, out of line or of different width from panel to panel.
.5 Install flashings to divert all moisture to the exterior.

.6 Install Porcelain panels to structural supports by hidden mechanical fasteners, clips and perimeter framing extrusions.

3.4 SITE QUALITY CONTROL
.1 Site Tests and Inspections:

.1 Carry out thorough inspections of the air barrier and insulation in the system, prior to the enclosure and concealment of these Products. 

.2 Final inspection and approval of completed work shall be carried out by manufacturer’s representative and Contractor or their designate.

3.5 CLEANING

.1 Remove all excess materials, debris and equipment at completion. 

.2 Clean all panels free of grime and dirt at time of installation.
[image: image1.jpg]





